USME — Depot Services / Biomed Walkthrough

Minutes of Meeting

| Date | On-site discovery walkthrough (pre-workshop) |
| --- | --- |
| Project | USME (US Med-Equip) — Ascent Rental / Salesforce Field Service |
| Also present | Bridge and Robert (USME biomed/production planning), Ascent/Durvah team |
| Prepared by | Durvah |

# 1. Purpose

Walk through the Depot Services / biomed repair workflow — case and work order structure, parts fulfillment, and technician production planning — to surface requirements and gaps ahead of next week's on-site workshops.

# 2. Depot Services Structure

- Depot Services, Inside Sales, and Sales Orders use a combination of GoUSME and ServiceNow together, not GoUSME alone.

- A "case" can hold up to approximately 20 case tasks, potentially shipping from different branches and worked on by the biomed team.

- Shipping process: once an item is available for an order, staff go into the task template, select shipping, and choose a method — free shipping or a third-party expedited carrier ("hot shot" company) for large-footprint items.

# 3. Parts / PO Cancellation — Notification Gap (Major Finding)

- If purchasing cancels a PO for a part tied to an open work order (e.g. a manufacturer PO cancelled, or a transfer order cancelled because the source branch's system-shown inventory turns out to be wrong), there is no notification to the technician.

- The technician simply assumes the part is still on the way; discovery today is purely reactive — the technician checks back weeks later, or a team lead happens to be monitoring "work in progress" parts status.

- Proposed fix (Bridge): on cancellation, the part requirement should automatically requeue for purchasing to handle (re-route to a different PO or a transfer order) rather than requiring the technician to notice and manually resubmit the parts request.

- Described as "a huge gap" — any notification mechanism (e.g. built in Salesforce) would help.

# 4. Biomed Technician Work Assignment

- Weekly "production cases" (a structure parallel to equipment-management and shipping cases) assign technicians work by model ID; completing work on a model fills that case's completion bar toward 100%.

- This is distinct from "open work orders" submitted by the equipment management team (e.g. a $3,500 parts/work order), which must be manually closed out by the team lead rather than auto-completing like production cases.

# 5. Standard Repair-Time Data (Gap)

- Standard labor-time/effort values for completing repair work exist per model + service-type combination (e.g. an infusion pump takes less technician effort than a ventilator).

- This data is stored entirely outside the current system (not in ServiceNow or GoUSME) — relevant to production-planning and capacity commitments by branch criticality, which isn't systematically supported today.

# 6. Work Order Data Model — Resolved

- USME finds the current Work Order → Work Order Task relationship (1:1, no multiple tasks under one work order) redundant, and would prefer a single work order with multiple sequenced lines instead.

- Ascent confirmed their native model already works this way — a Work Order "header" with multiple "lines" (non-physical service/task lines plus physical lines like consumables), sequenced — satisfying this request natively. No gap here.

# 7. Action Items

| # | Action Item | Owner |
| --- | --- | --- |
| 1 | Send a "wish list" of process improvements/additions to the depot services and production-planning workflow | USME biomed/production-planning team (Bridge/Robert) |
| 2 | Route the wish list to Durvah (Srini/team) and Tom (Ascent) ahead of next week's deeper-dive session | USME biomed/production-planning team |

# 8. Next Steps

- Findings to feed into the Field Service Execution and Pickup/Return & Recovery domain designs, particularly around parts fulfillment notifications and work order structure.

- Next week's on-site session will dig into the detailed requirements for depot services and production planning, using this discussion and the requested wish list as a starting base.